## Slide 1
Jim Smith
NCAR Atmospheric Chemistry Observations & Modeling (ACOM) Laboratory Aerosol Physics Research Group, Univ. of Eastern Finland @ Kuopio
April 17, 2015
NCAR Networking and Discover Day
Unraveling the mysteries of atmospheric nanoparticle formation
Notes: 1

## Slide 2
Acknowledgements: The New Particle Formation Team
Markku Kulmala
U Helsinki
Ari Laaksonen
Finn Met Inst
Annele Virtanen
U E. Finland
Kelley Barsanti
UC Riverside
Murray Johnston
U Delaware
Chris Hogan
U Minn
Fred Eisele
NCAR
Pete McMurry
U Minn
Paul Winkler
John Ortega
Jun Zhao
Mike Lawler
Funding Agencies:
National Science Foundation
Department of Energy
Finnish Academy & Saastamoinen Foundation
Lea Hildebrandt Ruiz

## Slide 3
Why should we care about atmospheric nanoparticles?
Nanoparticles are the “building blocks” of atmospheric aerosols … their formation is observed around the world and their growth to larger sizes is important for cloud formation.
Nanoparticles may have health impacts because of their ability to translocate.
Nanoparticles are a unique state of matter that lie in the transition between molecular clusters (~1 nm) and bulk aerosol (>50 nm).
diameter that can activate into a cloud droplet at 0.2% supersaturation

## Slide 4
Why should we care about atmospheric nanoparticles?
Oberdörster, 2005
Nanoparticles are the “building blocks” of atmospheric aerosols … their formation is observed around the world and their growth to larger sizes is important for cloud formation.
Nanoparticles may have health impacts because of their ability to translocate.
Nanoparticles are a unique state of matter that lie in the transition between molecular clusters (~1 nm) and bulk aerosol (>50 nm).

## Slide 5
Why should we care about atmospheric nanoparticles?
Nanoparticles are the “building blocks” of atmospheric aerosols … their formation is observed around the world and their growth to larger sizes is important for cloud formation.
Nanoparticles may have health impacts because of their ability to translocate.
Nanoparticles are a unique state of matter that lie in the transition between molecular clusters (~1 nm) and bulk aerosol (>50 nm).

## Slide 6: Measuring the chemical composition of atmospheric nanoparticles
John Aitken (1839-1919)
The great difficulty in investigations of this kind is the extremely minute quantities of matter which produce surprising results and make the work full of pitfalls for the hasty.
For typical sample flows and times (20 min) we can collect, at most:
13 pg of 5 nm particles
100 pg of 10 nm particles
800 pg of 20 nm particles
On some nuclei of cloudy condensation, Proc. R.S.E., 1923

## Slide 7: Direct measurements of nanoparticle composition: Thermal Desorption Chemical Ionization Mass Spectrometer (TDCIMS)
an instrument for characterizing the molecular composition of ambient particles from 8 to 50 nm in diameter
Smith et al., 2004
unipolar charger and nano-DMA
electrostatic precipitator
high resolution time-of-flight mass spectrometer

## Slide 8: TDCIMS electrostatic precipitator
ion source
collection filament
size-selected nanoparticles
de-clustering cell
mass
spectro-meter.
Smith et al., 2004
no voltage applied to filament
clean sheath gas flows

## Slide 9: TDCIMS electrostatic precipitator
4000 V applied to filament
Smith et al., 2004
Charged particles are attracted to the filament by the electric field.
Collection is done at room temperature and pressure for ~30 min in order to collect ~100 pg sample.
Concentration of particles exiting precipitator noted for estimating collected fraction.

## Slide 10: TDCIMS electrostatic precipitator
collection complete filament moved into ion source
Charged particles are attracted to the filament by the electric field.
Collection is done at room temperature and pressure for ~30 min in order to collect ~100 pg sample.
Concentration of particles exiting precipitator noted for estimating collected fraction.
Smith et al., 2004

## Slide 11: TDCIMS ion source
Close-up of ion source during sample desorption
Filament temperature ramped to ~550 °C to desorb sample.
Reagent ions are created by a particles emitted from the radioactive source, generating mostly H3O+ and O2- (and clusters with water).
Evaporated compounds are ionized using chemical ionization with reagent ions, e.g.: (H2O )nH3O+ + NH3  (H2O )mNH4+ + (H2O)n-m
Ions are injected into a mass spectrometer for analysis
pinhole to vacuum chamber
241Am foil
to mass spec
Pt filament
Smith et al., 2004

## Slide 12: Understanding the role of acid-base chemistry in nanoparticle growth
John Aitken (1839-1919)
“the products of combustion of the sulphur in our coals, especially when mixed with the other products of combustion, such as ammonia, … give rise to a very fine-textured dry fog, they are probably one of the chief causes of our town fogs”
On dust, fogs, and clouds, Trans. R.S.E., 1880
sulfuric acid, H2SO4
ammonia, NH3
methylamine, CH5N

## Slide 13
TDCIMS says sulfate accounts for ~10% of detected negative ions
Smith et al., GRL, 2008
We seem to understand the role of sulfuric acid uptake in nanoparticle growth: Chemical closure achieved for an event in Mexico City
Modeled growth from measured sulfuric acid shows that uptake accounts for ~10% of observed growth
Notes: On one day, 16 March, we focused specifically on
13

## Slide 14
Observations of amines and ammonia suggests that salt formation is an important process in nanoparticle growth
positive ions
Smith et al., PNAS 2011
negative ions
organic salt formation can comprise 10-50% of nanoparticle composition

## Slide 15: Salt formation makes new particles … a simple demonstration
Experiment performed by H. Friedli
volatile!
non-volatile!
an acid (HCl)
a base (CH3NH2)
Notes: I’m starting this talk with a demonstration of new particle formation from gaseous precursors. Here we have Hans Friedli taking two chemicals, and combining the vapors that exit the top of the bottles. Once he lines up the vapors so they combine, you can see a cloud of particles. This is even better illuminated with the last pointer.

## Slide 16
The role of highly-oxidized organics in nanoparticle growth
John Aitken (1839-1919)
“It seems therefore probable that the sun’s rays will decompose some of the gases and vapours in the air, and if these decomposed substances have a lower vapour tension than the substance from which they are formed, they condense into very fine particles.”
On dust, fogs, and clouds, Trans. R.S.E., 1880

## Slide 17
Cluster Chemical Ionization Mass Spectrometer (Cluster CIMS)
Can detect sticky compounds with a “wall-less” inlet
Chemically ionizes ambient gases and clusters using (HNO3)NO3- or acetate.
Most organic acids for adducts with NO3-
Analyzes ions with a quadrupole mass spectrometer
mass
spec
Zhao et al., JGR, 2010

## Slide 18: Laboratory studies of nanoparticle growth by organics
6 L temperature-controlled flow tube + 10 m3 Teflon bag reaction chamber + biogenic emissions enclosure for sampling VOCs from live plant emissions
Photo: recent laboratory campaign to study new particle formation and growth from biogenic VOC + nitrate radical chemistry.
VanReken et al., ACP, 2006

## Slide 19
Cluster CIMS: Identifying secondary organic nanoparticle precursors from -pinene + ozone chamber experiment
-pinene: 5 ppb
ozone: 50 ppb NOx ~1 ppb
Zhao et al., ACP 2013
dN/dlogDp (cm-3)
highly oxidized organics with ~20 Carbons
oxidized organics with ~10 Carbons

## Slide 20
Ozone + a-Pinene: Gas measurements identify compounds that coincide with the formation of 10-20 nm diameter particles
Zhao et al., ACP 2013
“Category I” compounds correlate with start of particle formation
“Category II” appear to be involved with growth of formed nanoparticles

## Slide 21: Can condensation of “Category I” compounds explain observed nanoparticle growth rates?
Zhao et al., ACP 2013
dN/dlogDp (cm-3)
observed growth rate: 36 nm/hr
ʋ1 : molecular volume for monomer
N1: concentration of monomer
: thermal velocity of the monomer
36 nm/hr growth rate would require:
N1(m/z 500) = 3.3 x 108 cm-3
N1,obs (Category I) ~1.5 x 108 cm-3
A really simple chemical closure calculation

## Slide 22: Condensing oxidized organic compounds make new particles … a simple demonstration
terpenes + O3
“Category I” species

## Slide 23: To summarize, two important processes for nanoparticle growth are …
terpenes + O3
“Category I” species
acid (HCl) + base (CH3NH2)
… and the condensation of high molecular weight, highly oxidized organics
salt (CH3NH3+Cl-)
… the reactive uptake of acids, bases, etc. …